## Cleaning Specifications
Cleaning Specifications
Patient Areas
Duty | Description | Frequency
Empty Waste Receptacles | Empty and clean all waste containers. Replace fresh liners. Deposit trash in holding area for pickup. | 5 times weekly
High dust above eye level | Dust ledges over eye level including over bed lights, tops of picture frames and ceiling vents. | 2 times weekly
Sanitize all horizontal surfaces | Damp wipe with germicidal solution the head, foot and side rails of beds, bedside tables, overbed tables, chairs, cabinets, miscellaneous furniture, rolling stock i.e. IV Poles, window sills, ledges, television sets and phones. | 5 times weekly
Spot clean all vertical surfaces | Damp wipe walls, doors, light switch covers, and wall vents. | 5 times weekly
Clean restroom fixtures | Thoroughly clean and disinfect sinks, baths, toilets, mirrors and paper towel dispensers. Clean shower floor walls and curtains. Damp wipe commodes after being emptied by Nursing. | 5 times weekly
Dust mop Floor/Vacuum | Dust mop all hard surfaced floors with dust control tool. Dust mopping to include corners, baseboards, and under furniture. Vacuum carpeted floors. | 5 times weekly
Vacuum | Vacuum hard surfaced floors. | Monthly
Damp Mop | Damp Mop all hard-surfaced floors with an approved cleaner. | 5 times weekly
AM/PM Freshen | Dust mop, spot damp mop, remove trash, check bathrooms, during beginning and at the end of each day shift | As needed
Mop up spills | Mop up major spills on request | As needed
Baseboards | Keep baseboards free of dust, splash marks and finish. | Weekly as needed
Burnish/Spray Clean | Burnish all hard surfaced patient room floors and ancillary room. Spray clean all carpeted patient floors and carpeted ancillary rooms. Burnish all hard surfaced corridors. Spray clean a carpeted corridors | 2 times weekly
Replenish Supplies | Replenish hand soap. Paper towel , toilet tissue. Refill wall mounted hand sanitizers as needed. | 5 times weekly
Shampoo Carpets | Top shampoo or heavy deep extraction | Annually
Refinish Floors | Strip old finish from hard-surfaced floors or light scrub and apply non-slip floor finish | Annually
Low-Level Glass | Clean and remove finger marks from low­ level interior glass partitions, door panels, mirrors, etc. | 5 times weekly
Stainless Steel | Damp wipe, clean and polish stainless steel and other metal, railings, wall corner coverings, door handles, door frames and footplates. | 5 times weekly
Windows | Spot clean interior of outside windows up to 6 feet | Monthly
Wash Walls | Wash completely interior wall surfaces | 1 time weekly
Wheel Chairs | Clean wheel chairs that are kept in patient exam room | As needed
Cleaning Specifications
Non-Patient Areas
Duty | Description | Frequency
Empty Waste Receptacles | Empty and clean all waste containers. Replace fresh liners. Deposit trash in holding area for pickup. | 5 times weekly
High Dust Above eye level | Dust ledges over eye level including tops of picture frames and ceiling vents | 2 times weekly
Low Dust | Dust all low ledges, furniture and equipment to a height of 6 feet from floor | 5 times weekly
Spot Clean Vertical Surfaces | Spot clean and remove finger marks, splashes, etc. from walls and doors. | As needed
Dust mop Floor/Vacuum | Dust mop all hard surfaced floors with dust control tool. Vacuum carpeted areas. | 5 times weekly
Vacuum | Vacuum hard surfaced floors. | Weekly as needed
Damp Mop | Damp Mop all hard-surfaced floors with an approved cleaner all entrances, lobbies, and corridors. | 5 times weekly
Clean restrooms | Thoroughly clean and disinfect hand basins, commodes, seat covers, toilet and paper towel dispensers. Damp mop floors. Dust low level ledges. Clean and polish bright metal and mirrors. Remove marks from walls, doors and partitions. Replenish soap, paper towels, toilet paper etc. | 5 times weekly
Freshen Clean | Preform the following tasks: Spot entrance door glass. Spot sweep/mop. Check bathrooms fixtures, floors and trash and clean and remove trash as needed. Check that dispensers are stocked to ensure a supply of soap, toilet paper and hand towels at all times. | As needed
Burnish | Burnish corridors and waiting areas | 5 times weekly
Shampoo Carpets | Top shampoo or heavy deep extraction | Annually
Refinish Floors | Strip old finish from hard-surfaced floors or light scrub and apply non-slip floor finish | Annually
Polish Furniture | Apply suitable furniture polish to wooden furniture and rub to a high shine | 1 time weekly
Clean wooden furniture | Wipe wooden furniture with a damp cloth | 5 times weekly
Stairs | Sweep all stairs and landings | 5 times weekly
Elevator Cleaning (Unless Elevators are maintained by the building owner) | Wash and polish walls and doors. Sweep and damp mop floors. Apply finish as needed. Vacuum and spray clean carpeted floors. Keep tracks free of debris. Clean ceilings monthly in coordination with Engineering. | 5 times weekly
Windows | Spot clean insides of those exterior windows reachable from the floor. | As needed
Wall Wash | Wash completely interior wall surfaces | As needed
Cleaning Specifications
Waiting Rooms
Duty | Description | Frequency
Empty Waste Receptacles | Empty and clean all waste containers. Replace fresh liners. Deposit trash in holding area for pickup. | 5 times weekly
High Dust Above eye level | Dust ledges over eye level including tops of picture frames and ceiling vents | 3 times weekly
Low Dust | Dust all low ledges, furniture and equipment to a height of 6 feet from floor | 5 times weekly
Spot Clean Vertical Surfaces | Spot clean and remove finger marks, splashes, etc. from walls and doors. | 5 times weekly
Dust mop Floor/Vacuum | Dust mop all hard surfaced floors with dust control tool. Vacuum carpeted areas. | 5 times weekly
Damp Mop | Damp Mop all hard-surfaced floors | 5 times weekly
Clean restrooms | Thoroughly clean and disinfect hand basins, commodes, seat covers, toilet and paper towel dispensers. Damp mop floors. Dust low level ledges. Clean and polish bright metal and mirrors. Remove marks from walls, doors and partitions. Replenish soap, paper towels, toilet paper etc. | 5 times weekly
Police Cleaning | Spot Sweep/mop or vacuum floor Check and clean bathroom fixtures. Ensure an adequate supply of soap, toilet paper and hand towels at all times. | As needed
Burnish | Burnish waiting area floor if hard surfaced | 2 times weekly
Shampoo Carpets | Top shampoo or heavy deep extraction Check and remove spots and stains | As needed
Refinish Floors | Strip old finish from hard-surfaced floors or light scrub and apply non-slip floor finish | As needed
Polish Furniture | Apply suitable furniture polish to wooden furniture and rub to a high shine | 2 times weekly
Windows | Spot clean insides of those exterior windows reachable from the floor. | As needed
Wall Wash | Wash completely interior wall surfaces | 2 times weekly
Cleaning Specifications
Restrooms
Duty | Description | Weekly Frequency
Empty Waste Receptacles | Empty and clean all waste containers. Replace fresh liners. Deposit trash in holding area for pickup. | 5 times
Sink cleaning | Thoroughly clean top and bottom of sinks, faucets, and pipes under sinks using hospital approved germicidal solution. Check wall and mirror and clean as needed | 5 times
Toilet/Urinal Cleaning | Using a hospital approved germicidal , clean outside of toilet including chrome handles and pipes, top and bottom of seats and rim of toilet seat. Clean inside of toilet/urinal. | 5 times
High Dust | Dust all high level ledges and vents | 2 times
Damp Wipe | Damp wipe with hospital approved germicidal solution all ledges, fittings, external vent surfaces, doors, dispensers and partitions | 5 times
Vertical Surfaces | Remove finger marks and smears from walls, doors, door jams, etc. | 5 times
Low level Glass | Clean and remove finger marks from low level interior glass partitions, door panels, mirrors, etc. | As needed
Replenish Supplies | Replenish all supplies including paper towels, toilet paper, hand soap, toilet seat covers, etc. | 5 times
Damp Mop | Damp Mop all floor surfaces with hospital approved germicidal solution | 5 times
Baseboards | Keep baseboards free of dust, splash marks, and old finish build up | 1 time weekly
Wall Wash | Wash completely interior wall surfaces | Monthly
Scrub Floors | Machine scrub and/or strip hard surfaced floors. Apply suitable non-sip, metal-link finish if appropriate. | Monthly

## Sheet2 (hidden)
1 time weekly
2 times weekly
3 times weekly
4 times weekly
5 times weekly
6 times weekly
7 times weekly
As needed
Annually
Monthly
Weekly as needed

## Operating Rooms
Cleaning Specifications
Operating Room
End of Day Terminal Cleaning
1 | To maintain a sterile environment, the following attire is required: Scrub suit, shoe covers, gloves, cap and mask. These items must be worn upon entering the surgery area. When leaving the surgery area, a cover gown must be worn and disposable PPE should be removed.
2 | The Contractor's staff will check with the OR Supervisor or an appointed representative at the beginning of the shift to see if there are any special duties which need to be done before starting the daily routine.
3 | Clean mop heads are used daily and a fresh mop should be used for each room. All soiled mop heads will be taken to the Laundry Services Department. Clean mops heads will be delivered daily.
4 | All equipment and supplies used in the OR areas are designated for use in this area exclusively and must remain in the OR. If any other equipment is taken in, it must first be cleaned with a germicidal solution. If any equipment is taken out, it must be cleaned before going back into the sterile area. All equipment must be cleaned nightly.
Sterile Area - Nightly Routine Cleaning:
1 | Dress in surgical attire.
2 | Gather equipment, prepare germicidal solution.
3 | Empty all trash receptacles and wash with cloth.
4 | Renew germicidal solutions after cleaning all trash receptacles.
5 | Reline waste receptacles with proper liners.
6 | Begin damp dusting items around the perimeter of the room from top to bottom. Begin with overhead surgical light.
7 | Using the germicidal solution, clean bed and IV poles, spot wash walls, spot doors-cleaning all handles and windows, clean the surface of surgical cabinet and glass, and clean the prep table.
8 | Before cleaning the floor, move all items to one end of the room to save time and to avoid having to move them again. Begin mopping the empty half of the floor, ensuring that a liberal coating of germicide is placed down.
9 | Leave excess solution on the floor, begin cleaning the equipment, wheel each piece of equipment through the germicide; this will disinfect the casters; be sure to wipe them down.
10 | Return all equipment to its proper location and mop the remainder of the floor.
11 | Clean equipment and properly store all supplies.
Sterile Area - Weekly Routine Cleaning:
1 | Dress in surgical attire.
2 | Gather equipment. A floor buffer will be needed in addition to other cleaning supplies. Prepare germicidal solution.
3 | Dust mop room.
4 | Empty all trash receptacles and wash with cloth.
5 | Renew germicidal solution.
6 | Reline trash receptacles with proper liners.
7 | Begin damp dusting items around perimeter of room from top to bottom. Begin with overhead surgical light.
8 | Using germicidal solution, clean bed and IV poles, spot doors and windows; clean the surface of the surgical cabinets and glass, clean prep table.
9 | Before cleaning the floor, move all items to one end of the room to save time and to avoid moving them again. Begin mopping the empty half of the floor, ensuring that a liberal coating of germicide is placed down. The floor must be disinfected even though it was buffed.
10 | Leaving excess solution on the floor, begin cleaning equipment. Wheel each piece of equipment through the germicide; this will disinfect the casters; be sure to wipe them down.
11 | Return all equipment to its proper location.
12 | Clean equipment and properly store all supplies.
Sterile Area - Monthly Routine Cleaning:
1 | Dress in surgical attire.
2 | Gather equipment. A stepladder and Floor buffer will be needed in addition to other supplies. Prepare germicidal solution.
3 | Dust mop room, moving all equipment to one side. Begin buffing the floor using a high speed buffer and a white or tan colored buffing pad.
4 | Remove buffer and dust mop floor. The floor should be dust mopped after buffing, because the buffer creates a lot of dust and grit.
5 | Apply a coat of wax to the floor and allow it to dry.
6 | Empty all trash receptacles and wash with cloth.
7 | Renew germicidal solution
8 | Reline trash receptacles with proper liners
9 | Wash outside of ceiling lights using the high duster.
10 | Begin damp dusting items around perimeter of room from top to bottom. Begin with overhead surgical light. Clean celling vents.
11 | Using germicidal solution, clean bed and IV poles, spot doors and windows; dean the surface of the surgical cabinets and glass, clean prep table. Also clean clocks, view boxes, gas boxes, ring stand, mayo stand, wall vent, and entire surface of door, kick pails, and furniture.
12 | Before cleaning the floor, move all items to one end of the room to save time and to avoid moving them again. Begin mopping the empty half of the floor, ensuring that a liberal coating of germicide is placed down. The floor must be disinfected even though it was buffed. Leaving excess solution on the floor, begin cleaning equipment. Wheel each piece of equipment through the germicide; this will disinfect the casters; be sure to wipe them down.
13 | Leaving excess solution on the floor, begin cleaning equipment. Wheel each piece of equipment through the germicide; this will disinfect the casters; be sure to wipe them down.
14 | Return all equipment to its proper location.
15 | Clean equipment and properly store all supplies.
Sub-Sterile Area - Nightly Routine Cleaning:
1 | Dress in surgical attire.
2 | Gather equipment, prepare germicidal solution.
3 | Empty all trash receptacles and wash with cloth.
4 | Renew germicidal solutions after cleaning all trash receptacles.
5 | Reline waste receptacles with proper liners.
6 | Begin damp dusting items around the perimeter of the Sub-sterile area from top to bottom.
7 | Using the germicidal solution, wipe walls as required, doors, clocks, sinks, windows, and Clean counter tops, empty tables, and the outside of the autoclave. Clean outside surfaces of the refrigerator and warmer.
8 | Before cleaning the floor, move all items to one end of the room to save time and to avoid having to move them again. Begin mopping the empty half of the floor, ensuring that a liberal coating of germicide is placed down. Leave excess solution on the floor, begin cleaning the equipment, wheel each piece of equipment through the germicide; this will disinfect the casters; be sure to wipe them down.
9 | Return all equipment to its proper location and mop the remainder of the floor.
10 | Clean equipment and properly store all supplies.
Sub-Sterile Area - Weekly Routine Cleaning:
1 | Dress in surgical attire.
2 | Gather equipment. A floor buffer will be needed in addition to other cleaning supplies. Prepare germicidal solution.
3 | Dust mop room, moving all equipment to one side.
4 | Remove buffer and dust mop floor. The floor should be dust mopped after buffing, because the buffer creates a lot of dust and grit.
5 | Empty all trash receptacles and wash with cloth.
6 | Renew germicidal solution.
7 | Reline trash receptacles with proper liners.
8 | Using the germicidal solution, wipe walls as required, doors, clocks, sinks, windows, and Clean counter tops, empty tables, and the outside of the autoclave. Clean outside surfaces of the refrigerator and warmer.
9 | Before cleaning the-floor, move all items to one end of the room to save time and to avoid moving them again. Begin mopping the empty half of the floor, ensuring that a liberal coating of germicide is placed down. Leaving excess solution on the floor, begin cleaning equipment. Wheel each piece of equipment through the germicide; this will disinfect the casters; be sure to wipe them down.
10 | Return all equipment to its proper location
11 | Clean equipment and properly store all supplies.
Sub-Sterile Area - Monthly Routine Cleaning:
1 | Will be the same as weekly cleaning, but may require a coat of wax on the floor after step 1 (wax will be applied on an as needed basis)
Non -Sterile Area - Nightly Routine Cleaning:
1 | Gather equipment, prepare germicidal solution.
2 | Empty and clean all waste containers. Replace old liners with fresh liners. Deposit trash in holding area for pick up.
3 | Dust Mop Floor/Vacuum - Dust mop all hard surfaced floors with dust control tool. Vacuum carpeted areas.
4 | Damp Mop- Damp mop all hard-surfaced floors with an approved cleaner, including all entrances, lobbies, and corridors.
5 | Clean Bathrooms -Thoroughly clean and disinfect hand basins, commodes, seat covers, toilet paper and paper towel dispensers. Damp mop floors. Dust low level ledges. Clean and polish bright metal and mirrors. Remove marks from walls, doors, and partitions. Replenish soap, paper towels, toilet paper, etc.
6 | Freshen Clean of Entrance Lobbies, Adjacent Public Bathrooms, Elevators, Emergency Room Waiting Area, and Heavily Used Areas of Radiology as Necessary - Perform the following tasks: Spot clean entrance door glass. Spot sweep/mop floors. Check bathrooms, fixtures, floor, and trash and clean and remove trash as needed. Check that dispensers are stocked to ensure a supply of soap, toilet paper and hand towels at all times.
7 | Elevator Cleaning-Wash and polish walls and doors. Sweep and damp mop floors. Apply finish as needed. Vacuum and spray clean carpeted floors. Keep tracks free of debris. Clean ceilings monthly in coordination with Engineering.
8 | Windows - Wash completely interior wall surfaces.
Non -Sterile Area - Weekly Routine Cleaning:
1 | High Dust Above Eye Level - Dust ledges over eye level including tops of picture frames, and ceiling vents.
2 | Low Dust - Dust all low ledges, furniture and equipment to a height of 6 feet from the floor.
3 | Burnish corridors and waiting areas.
4 | Stairs -Sweep all stairs and landings.
Non -Sterile Area - As Requested by the Customer:
1 | Shampoo Carpets -Top shampoo or heavy deep extraction. Check and remove spots and stains. To be performed a minimum of once a year
2 | Refinish Floors -Strip old finish from hard-surfaced floors or light scrub and apply non-slip floor finish. To be performed a minimum of once a year.
3 | Wall Wash - Wash completely interior wall surfaces.

## Day Porter Duties
Cleaning Specifications
Day Porter Duties
1 | Check in with EVS Manager when reporting for work.
2 | Police Elevator lobbies on each floor every 2 hours. Vacuum, clean glass in/out, wipe down elevator doors and vacuum or mop elevators as required in the Medical Mall on the Baroness Campus
3 | Police the common areas on each floor every 2 hours. Vacuum, replace supplies in the Medical Mall on the Baroness Campus
4 | Police the common area restrooms on each floor every 2 hours. Clean and replace supplies as necessary in the Medical Mall on the Baroness Campus
5 | Police the stairwells and mop as necessary and minimally once per day.
6 | Police the dumpster. Pick up any trash and sweep daily
7 | Respond to cleaning request as directed.
Note
Building tenants need direct access to a Supervisor or dispatch system

## Special Provisions
Special Provisions
1 | Janitorial supervisor and day porter must be fluent in English
2 | All janitorial personnel must be in proper uniform with identification badges while performing their duties. Erlanger Human Resources Department will renew i.d. badges annually for contracted employees.
3 | No children, friends, etc., are allowed to accompany janitorial employees while performing their duties.
4 | Janitorial personnel are not allowed to take food or drinks from tenant spaces.
5 | Janitorial personnel are not allowed to use tenant phones, computers, radios or televisions while on duty.
6 | The janitorial account representative shall meet with tenant representatives on a monthly basis to go over any issues or requests for service. The meeting should be coordinated with the building manager.
7 | Janitorial personnel should not adjust thermostat controls.
8 | Janitorial Personnel must follow the cleaning specifications as defined above.
9 | On-call service is necessary. Explain process for on demand cleaning issues.

## Questions
Company Profile
Questions | Responses
1. What is your company name?
2. What is your company address?
3. Who should we contact with information or questions? Please include a name, title, e-mail address, and phone number.
Service Offering and Competency
Questions | Responses
1 What are your core competencies? What are the primary capabilities or offerings that distinguish you from the competition?
2. Describe, in detail, your demonstrated competence and experience in fulfilling services similar in scope to the services described in this contract for healthcare facilities similar in size to this organization.
3 Provide a minimum of three current customers similar in size to this organization and receiving services similar in scope to the services described in this contract as references. Please include the company name, number of years served, number of sites serviced, and details of services provided. Also include a contact name, phone number, and e-mail address for each reference.
4 Describe your screening and hiring processes. How do you ensure the hiring of competent, qualified, and ethical employees?
5 How do you train employees to successfully provide the services detailed in this contract?
6 Describe your process for measuring, monitoring, and enhancing customer service.
7 Describe, in detail, your approach to resolving identified deficiencies in services and your methods used to mitigate issues with specific areas or personnel.
8 Describe your client support model, including the type, level, and availability of support services.
9 Provide a timeline for the implementation process, including the duration between the contract award and implementation date. What resources and information will be required from this organization to ensure a smooth transition?
Is there a supervisor on site at off-site facilities? Our current cleaning service has someone on site. I find this very beneficial.

## Pricing
MOB Locations
| Total | Vacant | Cleaning
Location | Sq. Ft | Sq. Ft | Sq. Ft | Hours | Address | Hours to clean per week | Cost per hour | Annual cost for routine cleaning | Cost of Additional Services | Total Cost per year
1200 Pineville Road | 4092 |  | 4092 | Mon-Fri | 1200 Pineville Rd, Chattanooga, TN 37405
Primary Care Signal Mountain
Andrews Internal Medicine | 7430 |  | 7430 | Mon-Fri | 2751 Business Hwy 19, Andrews NC
Annex@WCH | 7446 |  | 7446 | Mon-Fri | 3990 E. Hwy 64 Alt, Murphy, NC
Bledsoe MOB | 1790 |  | 1790 | Mon-Fri | 121 Wheelertown Rd, Pikeville TN
Chattanooga Bone & Joint | 15834 |  | 15834 | Mon-Fri | 1809 Gunbarrel Rd, Chattanooga TN 37421
Chattanooga Lifestyle Center | 9830 |  | 9830 | Mon-Fri | 325 Market St #307 Chattanooga, TN 37402
Cleveland Pediatrics | 3000 |  | 3000 | Mon-Fri | 101 Keith St. SW, Cleveland, TN
Dalton Primary Care | 3200 |  | 3200 | Mon-Fri | 1329 West Walnut Avenue. Dalton GA
Dayton Cardiology | 1527 |  | 1527 | Mon-Fri | 195 White Oak Rd, Dayton TN 37321
Dodson Avenue | 23748 |  | 23748 | Mon-Fri | 1200 Dodson Ave. Chattanooga, TN 37406
Drs Douglas & Lawrence | 4884 |  | 4884 | Mon-Fri | 1720 Gunbarrel Rd. 110 Chattanooga, TN 37421
(East Brainerd Internal Medicine)
East Cardiology | 10800 |  | 10800 | Mon-Fri | 1614 Gunbarrel Rd, Chattanooga TN 37421
eKids Learning Center | 14624 |  | 14624 | Mon-Fri | 1043 Blackford St. Chattanooga, TN 37403
EMC North Annex | 14293 |  | 14293 | Mon-Fri | 632 Morrison Springs Rd, Chattanooga, TN 37415
EMC North POB | 27480 | 6772 | 20708 | Mon-Fri | 632 Morrison Springs Rd, Chattanooga, TN 37415
Erlanger South (Battlefield Parkway) | 7955 |  | 7955 | Mon-Fri | 60 Erlanger S Dr A. Ringgold, GA 30736
Gunbarrel Professional Center | 2760 |  | 2760 | Mon-Fri | 1720 Gunbarrel Rd. 410 Chattanooga, TN 37421
Hoar Construction / The Depot | 2108 |  | 2180 | Mon-Fri | 365 Hampton St, Chattanooga TN
Holtzclaw Building | 20800 | 14866 | 5934 | Mon-Fri | 600 N. Holtzclaw Ave, Chattanooga, TN 37403
Lookout Mountain | 3547 |  | 3547 | Mon-Fri | 101 Mc Farland Rd. Lookout Mountain GA 30750
Marion Co Primary Care | 7496 |  | 7496 | Mon-Fri | 520 E. 12th St, South Pittsburg, TN 37380
Medical Center Plaza | 147324 | 5250 | 142074 | Mon-Fri | 979 E 3rd St Chattanooga, TN 37403
Medical Mall | 262464 | 39699 | 222765 | Mon-Fri | 979 E 3rd St Chattanooga, TN 37403
Murphy MOB | 2672 |  | 2672 | Mon-Fri | 4048 US Hwy 64 East, Murphy NC
Murphy MOB 1 | 12395 |  | 12395 | Mon-Fri | 75 Medical Park Ln, Murphy NC
Murphy MOB 2 | 10514 |  | 10514 | Mon-Fri | 125 Medical Park Ln, Murphy NC
Murphy MOB 3 | 9155 |  | 9155 | Mon-Fri | 145 Medical Park Ln, Murphy NC
New MOB @Pikeville | 6300 |  | 6300 | Mon-Fri | 136 Wheelertown Rd, Pikeville, TN
Oasis Park Hixson | 7500 |  | 7500 | Mon-Fri | 1724 Hamil Rd. 214 Hixson, TN 37343
Ooltewah Primary Care | 3057 |  | 3057 | Mon-Fri | 5953 Elementary Way, Ooltewah, TN
Ooltewah PT | 2000 |  | 2000 | Mon-Fri | 5953 Elementary Way, Ooltewah, TN
PARC l@WCH | 23473 |  | 23473 | Mon-Fri | 3764 E. Hwy 64 Alt, Murphy, NC
Paul Huff Suite 103 | 2000 |  | 2000 | Mon-Fri | 4312 Paul Huff Parkway, Cleveland TN
Paul Huff Suite 104 Pharmacy | 2457 |  | 2457 | Mon-Fri | 4312 Paul Huff Parkway, Cleveland TN
Paul Huff Suite 202 | 5800 |  | 5800 | Mon-Fri | 4312 Paul Huff Parkway, Cleveland TN
Paul Huff Suite 203 | 5600 |  | 5600 | Mon-Fri | 4312 Paul Huff Parkway, Cleveland TN
Plaza Ambulatory Care Center | 73894 | 2561 | 71333 | Mon-Fri | 979 E 3rd St Chattanooga, TN 37403
Primary Care | 8000 |  | 8000 | Mon-Fri | 146 US Hwy 64 East, Hayesville NC
Primary Care PC | 3810 |  | 3810 | Mon-Fri | 6982 Nashville St., Ringgold Suite 200
PSG - Cleveland | 4502 |  | 4502 | Mon-Fri | 4472 Ellis Cir, Cleveland TN 37312
PSG - Downtown | 9748 |  | 9748 | Mon-Fri | 901 Riverfront Pkwy, Chattanooga TN 37402
PT | 1840 |  | 1840 | Mon-Fri | 6982 Nashville St., Ringgold Suite 200
Riverside/Brighthouse HR | 46282 |  | 46282 | Mon-Fri | 1516 Riverside Drive, Chattanooga, TN 37406
Signal Mtn Primary Care | 5250 |  | 5250 | Mon-Fri | 2600 Taft Hwy #100, Signal Mountain, TN 37377
Soddy Daisy (express care) | 17295 | 6875 | 10420 | Mon-Fri | 944S Dayton P1ke, Soddy-Daisy. TN 37379
St Elmo | 5894 |  | 5894 | Mon-Fri | 3800 Tennessee Ave Chattanooga, TN 37409
UTFP (Ground Floor) Workforce | 4144 |  | 4144 | Mon-Fri | 1100 E 3rd St. Chattanooga, TN 37403
UTFP Family Practice (1st Floor) | 33600 |  | 33600 | Mon-Fri | 1100 E 3rd St. Chattanooga TN 37403
UTFP Sports Medicine | 10002 |  | 10002 | Mon-Fri | 1100 E 3rd St. G-102 Chattanooga, TN 37403
Volkswagen | 10481 |  | 10481 | Mon-Fri | 7380 Volkswagen Dr. Chattanooga, TN 37421
VW Childcare Center (Separate building) | 12000 |  | 12000 | Mon-Fri | 7372 Volkswagen Dr, Chattanooga, TN 37421
VW Pharmacy suite 190 | 8778 |  | 8778 | Mon-Fri | 7380 Volkswagen Dr. Chattanooga 1N 37421
VW time Share suite 160 | 1841 | 1841 | - | Mon-Fri | 7380 Volkswagen Dr. Chattanooga, TN 37421
Whitehall Medical Building | 81202 | 11675 | 69527 | Mon-Fri | 960 E 3rd St. Chattanooga, TN 37403
Wish Hixson | 3000 |  | 3000 | Mon-Fri | 1025 Executive Dr, Hixson TN 37343
Women’s Care Center | 6470 |  | 6470 | Mon-Fri | 7490 Ziegler Rd, Chattanooga, TN 37421
Workforce- Volkswagen-Suite 100 | 1963 |  | 1963 | Mon-Fri | 7380 Volkswagen Dr. Chattanooga, TN 37421
Totals | 1047351 | 89539
|  |  | 957884 |  |  | 0 | 0 | 0 | 0 | 0
Additional Services | Prices Per Sq. Ft. | Additional Charges Per Hour
Shampoo Carpets -Top shampoo or heavy deep extraction. Check and remove spots and stains. To be performed a minimum of once a year
Refinish Floors -Strip old finish from hard-surfaced floors or light scrub and apply non-slip floor finish. To be performed a minimum of once a year.
Wall Wash-Wash completely interior wall surfaces